Cleaning & Sanitation Procedures

Document No. AUR-SAF-02 · Version 0.1 (Draft) · Owner: General Manager · Effective: [Date]

1. Purpose

A guest should walk into every room as if they are the first person to use it that day. These procedures set out what is cleaned, when, how and by whom across the Jumeirah 1 studio. They support the Health, Safety & Hygiene Policy (AUR-SAF-01) and Dubai Municipality hygiene requirements [Dubai Municipality approval reference].

Where an Elevé Health cleaning instruction exists for a device, it takes priority over this document. Never use a product on an Elevé device that Elevé has not approved.

2. General rules

Clean from clean to dirty, and from top to bottom.

Clean first (remove soil), then disinfect for the full contact time shown on the product label.

Never mix chemicals. Use measured dilution only.

Switch off and allow devices to reach safe temperature before cleaning. Never spray liquid into vents, controls or electrical parts.

Turnaround cleaning is included in every booking slot. A room is not released to the next guest until the Host has signed it off.

Every robe, towel, slipper set, cryo sock, glove and ear cover is fresh for each guest.

3. Approved products

| Use | Product | Dilution | Contact time | SDS held |
| --- | --- | --- | --- | --- |
| General hard-surface cleaner | [Product] | [___] | n/a | ☐ |
| Hard-surface disinfectant (non-device) | [Product] | [___] | [___] min | ☐ |
| Elevé-approved device disinfectant | [Product approved by Elevé] | [___] | [___] min | ☐ |
| Hyperbaric chamber interior cleaner (oxygen-compatible, alcohol and oil-free per Elevé) | [Product approved by Elevé] | [___] | [___] min | ☐ |
| Float tank sanitiser / oxidiser | [Product] | [___] | n/a | ☐ |
| Cold plunge water treatment | [Product per Elevé · Polar Recovery] | [___] | n/a | ☐ |
| Clinical-grade disinfectant (IV room) | [Product approved by Clinical Lead] | [___] | [___] min | ☐ |
| Floor cleaner, wet areas (anti-slip safe) | [Product] | [___] | n/a | ☐ |
| Glass and mirror cleaner | [Product] | [___] | n/a | ☐ |
| Hand sanitiser (guest and staff) | [Product] | Ready to use | 20–30 sec | ☐ |

4. PPE

| Task | Gloves | Apron | Eye protection | Mask |
| --- | --- | --- | --- | --- |
| Routine surface cleaning | Nitrile | Optional | No | No |
| Chemical dilution and dosing (float, plunge) | Chemical-resistant | Yes | Goggles | As per SDS |
| Toilet and shower cleaning | Nitrile (red cloth area) | Yes | No | No |
| Salt cabin refill and deep clean | Nitrile | Yes | Goggles | [FFP2] dust mask |
| IV room and clinical waste | Nitrile, clinical | Disposable | As per Clinical Lead | As per Clinical Lead |
| Body fluid spill | Nitrile, double | Disposable | Goggles | Yes |

5. Colour-coded cloths and mops

| Colour | Area | Never use on |
| --- | --- | --- |
| Blue | Reception, lounge, offices, general low-risk surfaces | Toilets, IV room |
| Green | Treatment rooms and device exteriors (cryo, red light, sauna, HBOT exterior, dry float, salt cabin, compression boots) | Toilets |
| Yellow | IV room and clinical areas | Any other area |
| Red | Toilets, urinals, shower floors | Any other area |
| White (single-use) | Hyperbaric chamber interior | Any other area |

Cloths are laundered at [60–90 °C] daily or are single-use. Mop heads are colour-matched and stored separately.

6. Cleaning schedules by area and device

6.1 WHOLE-BODY CRYOTHERAPY (E-CRYO PRO)

| Frequency | Task |
| --- | --- |
| Between every guest | Wipe handles, door seals, floor mat and touchscreen with Elevé-approved disinfectant; remove moisture and frost from floor; fresh socks, gloves, ear cover and mask for the next guest |
| Daily | Full interior and exterior wipe-down at close; empty condensation tray as per Elevé; check door seal for damage |
| Weekly | Clean thermal-vision camera lens and sensors as per Elevé; clean air filters or intake grilles as per Elevé |
| Monthly | Defrost cycle and inspection as per Elevé; record in maintenance log |

6.2 RED-LIGHT BED

| Frequency | Task |
| --- | --- |
| Between every guest | Wipe acrylic panels, headrest and handles with Elevé-approved disinfectant (no alcohol unless Elevé approves); clean eye protection; fresh towel or liner |
| Daily | Full exterior and interior wipe; check panels for scratches or residue |
| Weekly | Clean vents and fan grilles (dry cloth only) |
| Monthly | Inspect panels and lamps; report any failed LEDs to Elevé |

6.3 INFRARED SAUNA

| Frequency | Task |
| --- | --- |
| Between every guest | Remove used towels; wipe benches, backrests and door handle; replace bench towel; refill drinking water |
| Daily | Wipe all wood surfaces with approved wood-safe cleaner; clean floor and glass; air out with door open |
| Weekly | Light scrub of benches to remove sweat marks; clean heater panel covers (cool, dry cloth) |
| Monthly | Inspect wood, seals and heater panels; treat wood as per Elevé |

6.4 HYPERBARIC OXYGEN CHAMBER

| Frequency | Task |
| --- | --- |
| Between every guest | Wipe interior surfaces, mattress, pillow and door seal with Elevé-approved oxygen-compatible product and single-use white cloths only; fresh pillow cover and sheet; check no prohibited items left inside |
| Daily | Full interior and exterior clean; inspect seals, zips or door for damage; empty bin outside the chamber area |
| Weekly | Clean viewing window, intercom and control panel exterior; check and replace filters as per Elevé |
| Monthly | Elevé-specified inspection checklist; record in maintenance log |

No alcohol-based wipes, oils, aerosols or petroleum-based products in or on the hyperbaric chamber unless Elevé has approved them in writing. Fire risk in oxygen-enriched air is the main hazard.

6.5 FLOAT TANK (FLOAT & SENSORY RESET)

| Frequency | Task |
| --- | --- |
| Between every guest | Run full filtration cycle with UV [minimum ___ minutes / ___ turnovers]; skim surface; wipe tank walls above waterline, door or lid, handrail and call button; rinse and refill eye-spray bottle; clean shower and floor; fresh towels |
| Daily | Test and log pH, sanitiser level, specific gravity (Epsom concentration) and temperature; check filter pressure; wipe all interior surfaces above waterline |
| Weekly | Change or clean filter cartridge as per supplier; test for [total alkalinity, combined chlorine or other parameters]; top up Epsom salt to maintain target specific gravity |
| Monthly | Send water sample to an accredited laboratory [Lab name] for microbiological testing; inspect UV lamp and record hours; deep-clean tank exterior and room |

Target values (confirm with supplier and Dubai Municipality):

| Parameter | Target range | Action if out of range |
| --- | --- | --- |
| Specific gravity (Epsom) | [1.23–1.30] | Add salt or water; retest before next guest |
| pH | [7.2–7.8] | Adjust; retest |
| Sanitiser residual | [___] | Adjust; close tank if below minimum |
| Water temperature | Skin temperature [34.5–35.5 °C] | Adjust heater; do not float if outside range |
| Microbiology (monthly lab) | [Per Dubai Municipality] | Close tank; shock treat; retest |

6.6 DRY FLOAT BED

| Frequency | Task |
| --- | --- |
| Between every guest | Wipe membrane and frame with Elevé-approved disinfectant; fresh pillow cover and blanket |
| Daily | Full wipe-down; check membrane for wear or leaks |
| Weekly | Check water level and temperature settings as per Elevé |
| Monthly | Inspection as per Elevé; record in maintenance log |

6.7 SALT CABIN (E-SALT CABIN)

| Frequency | Task |
| --- | --- |
| Between every guest | Wipe seat, armrests, handles and controls; fresh towel; refresh aromatherapy as per guest choice; ventilate for [___] minutes |
| Daily | Dry-wipe interior surfaces (no water on salt surfaces unless Elevé approves); clean red-light lens; check salt generator level |
| Weekly | Refill salt generator (PPE: mask and goggles); clean oxygen outlet exterior as per Elevé; vacuum loose salt |
| Monthly | Elevé inspection checklist; replace filters as per Elevé |

6.8 COLD PLUNGE (ELEVÉ · POLAR RECOVERY, 5 °C)

| Frequency | Task |
| --- | --- |
| Between every guest | Skim surface; wipe rim, handrail and step; check temperature is 5 °C and log; dry floor and replace mat |
| Daily | Test and log sanitiser level, pH and clarity; check filter and circulation; record temperature at open, midday and close |
| Weekly | Clean or change filter as per Elevé; wipe waterline; check ozone or UV unit as per Elevé |
| Monthly | Drain, clean and refill if Elevé schedule or test results require; lab microbiological sample [Lab name] |

6.9 COMPRESSION BOOTS (7-ZONE)

| Frequency | Task |
| --- | --- |
| Between every guest | Wipe inside and outside of boots, hoses and controller with Elevé-approved disinfectant; use fresh disposable liners [if used] |
| Daily | Full wipe; check for tears and hose leaks |
| Weekly | Inspect zips and connectors |
| Monthly | Elevé inspection; record in maintenance log |

6.10 IV ROOM (CLINICAL STANDARDS)

Cleaning in the IV room follows clinical infection-control standards set by the Clinical Lead and DHA requirements [DHA licence / approval reference]. Only trained staff clean this room. Yellow cloths only.

| Frequency | Task |
| --- | --- |
| Between every guest | Hand hygiene; disinfect chair or couch, armrests, IV stand, trolley top and any touched surface with clinical-grade disinfectant; replace couch roll; dispose of sharps at point of use; segregate clinical waste |
| Daily | Damp-dust all surfaces including high surfaces; clean floor; restock; check sharps container fill level; check fridge temperature and log |
| Weekly | Clean fridge, cupboards and trolleys inside; check stock expiry dates; check anaphylaxis kit and log |
| Monthly | Deep clean including walls, curtains or screens (change curtains [every ___ months] or when soiled); audit by Clinical Lead |

6.11 CHANGING ROOMS AND SHOWERS

| Frequency | Task |
| --- | --- |
| Between every guest (private changing / shower suites) | Remove used towels and robes; wipe bench, hooks and vanity; squeegee shower; dry floor; restock amenities |
| Daily | Full clean of showers, toilets, basins and floors (red cloths for toilets and shower floors); empty bins; check drains |
| Hourly during opening | Floor and toilet check; dry wet floors; sign the area checklist |
| Weekly | Descale shower heads and glass; clean lockers inside; deep-clean grout |
| Monthly | Clean extractor fans and vents; check for mould and report |

6.12 RECEPTION AND LOUNGE

| Frequency | Task |
| --- | --- |
| Between every guest | Wipe check-in tablet or pen, counter and card machine |
| Daily | Dust and wipe all surfaces; clean glass and doors; vacuum or mop floors; empty bins; refresh water and tea station |
| Weekly | Clean retail shelves and products; wipe skirting and lighting |
| Monthly | Deep clean upholstery and rugs |

7. Laundry

Used linen goes into bags at the point of use, never on the floor.

Linen soiled with blood or body fluid is bagged separately in [water-soluble red] bags.

Laundry is processed by [Laundry contractor] at [___ °C] or in-house to the same standard.

Clean linen is stored covered and away from used linen.

8. Body fluid spills

1.	Put on PPE (double gloves, apron, goggles).

2.	Cover with absorbent granules or spill kit.

3.	Remove into a clinical waste bag.

4.	Clean the area, then disinfect with clinical-grade disinfectant for the full contact time.

5.	Dispose of PPE as clinical waste. Wash hands. Record on the cleaning log.

9. Logs and sign-off

9.1 FLOAT TANK WATER TESTING LOG

| Date / time | pH | Sanitiser | Specific gravity | Temp (°C) | Initials |
| --- | --- | --- | --- | --- | --- |
| __________ | ______ | ______ | ______ | ______ | ______ |
| __________ | ______ | ______ | ______ | ______ | ______ |
| __________ | ______ | ______ | ______ | ______ | ______ |

9.2 COLD PLUNGE TEMPERATURE AND WATER LOG

| Date | Open (°C) | Midday (°C) | Close (°C) | pH / sanitiser | Initials |
| --- | --- | --- | --- | --- | --- |
| __________ | ______ | ______ | ______ | ______ | ______ |
| __________ | ______ | ______ | ______ | ______ | ______ |
| __________ | ______ | ______ | ______ | ______ | ______ |

9.3 DAILY CLEANING SIGN-OFF LOG

| Area / device | Between-guest checks complete | Daily clean complete | Issue noted | Cleaned by | Checked by |
| --- | --- | --- | --- | --- | --- |
| Cryo chamber | ☐ | ☐ | __________ | ______ | ______ |
| Red-light bed | ☐ | ☐ | __________ | ______ | ______ |
| Infrared sauna | ☐ | ☐ | __________ | ______ | ______ |
| Hyperbaric chamber | ☐ | ☐ | __________ | ______ | ______ |
| Float tank | ☐ | ☐ | __________ | ______ | ______ |
| Dry float bed | ☐ | ☐ | __________ | ______ | ______ |
| Salt cabin | ☐ | ☐ | __________ | ______ | ______ |
| Cold plunge | ☐ | ☐ | __________ | ______ | ______ |
| Compression boots | ☐ | ☐ | __________ | ______ | ______ |
| IV room | ☐ | ☐ | __________ | ______ | ______ |
| Changing rooms and showers | ☐ | ☐ | __________ | ______ | ______ |
| Reception and lounge | ☐ | ☐ | __________ | ______ | ______ |

Date: __________ Duty Manager: __________

9.4 WEEKLY AND MONTHLY SIGN-OFF

| Week / month | Area / device | Task completed | Cleaned by | Checked by | Date |
| --- | --- | --- | --- | --- | --- |
| ______ | __________ | __________ | ______ | ______ | ______ |
| ______ | __________ | __________ | ______ | ______ | ______ |
| ______ | __________ | __________ | ______ | ______ | ______ |

Logs are kept for at least [___] years and are available to Dubai Municipality inspectors on request.

10. Audit

The General Manager walks the studio with the cleaning checklist at least [weekly]. The Clinical Lead audits the IV room [monthly]. Findings are recorded and actions are closed within [7] days.